## BQ
ONLINE PARTIAL DISCHARGE MONITORING SYSTEM FOR HIGH-VOLTAGE CABLES
高壓電纜局部放電在線監測系統
Tender Ref. / 檔案編號：PLD-CS160/26/99
Bill of Quantities (工程量清單)
Item | Description | Unit | Estimated Qty. | Unit Price | Amount
1 | Back End System
1.1 | To provide a back end system and setup in a dedicated Server | lot | 1
1.2 | To provide an user interface - unlimited license and no license fee after | lot | 1
2* | PDMS Unit w/ all necessary hardwares & accessiories
2.1 | For HV Joint (with OF cable) - 3 PD sensors - w/ necessary acquisition and transmission equipment - all necessary accessiories and connections - add/modify the newly installed equipment in PDMS | un | 65
2.2 | For HV Joint (wireless) - 3 PD sensors - w/ necessary acquisition and transmission equipment - all necessary accessiories and connections - mobile data card with 3 years cost - add/modify the newly installed equipment in PDMS | un | 43
2.3 | For HV Termination - 3 PD sensors - w/ necessary acquisition and transmission equipment - all necessary accessiories and connections - add/modify the newly installed equipment in PDMS | un | 30
2.4 | To supply and setup the data acquisition equipment at CEM HV substation or building - mobile data card with 3 years cost - OF cables | un | 8
3* | Optional Items
3.1 | Comprehensive Technical Support for each extra year (until 8 years after commissioning)
3.1.1 | 4th year comprehensive technical support after commissioning | yr | 1
3.1.2 | 5th year comprehensive technical support after commissioning | yr | 1
3.1.3 | 6th year comprehensive technical support after commissioning | yr | 1
3.1.4 | 7th year comprehensive technical support after commissioning | yr | 1
3.1.5 | 8th year comprehensive technical support after commissioning | yr | 1
3.2 | Mobile data service for each acquisition and transmission equipment | un/yr | 25
3.3 | Detect the PD with a portable equipment for a set of Joint or Termination | un | 20
* CEM reserves the right to not order all quantities; exact figures shall be defined during the design stage.